## Air Compressor Quote Request
Air Compressor System Quote Request From
TYPE (SELECT ONE) TIPO (SELECCIONE UNO)
(SCN) | Oil-less Scroll |  |  |  | (INS) | Instrument Air
(REN) | Oil-less Reciprocating Piston |  |  |  | (LP) | Lubricated Piston
(RSD) | Rotary Screw
TYPE OF DRYER (SELECT ONE) TIPO DE SECADORA (SELECCIONE UNO)
Desiccant Dryer |  |  | Refrigerated Dryer |  |  |  | No Dryer
APPLICATION (APLICATIÓN)
(CIRCLE ONE): |  | MEDICAL |  | LABORATORY |  | OTHER (NOT MEDICAL OR LABORATORY)
What will the system be used for? (Hospital, Laboratory, Manuafacturing, Transportation, etc.)
What is the application? (Surgery, WAG, Food Packaging, etc.)
Other Requirements/Information/Comments: (ex. special set points, certifications required, etc.)
TOTAL SYSTEM DEMAND (DEMANDA TOTAL DEL SISTEMA)
HORSE POWER |  | or | SCFM |  | or LPM |  | @ | PSIG
NUMBER OF PUMPS (SELECT ONE) NUMERO DE BOMBAS (SELECCIONE UNO)
(S) | Simplex (1) |  |  | (Q) | Quadraplex (4)
(D) | Duplex (2) |  |  | (#) | Multiplex (5 through 9)
(T) | Triplex (3) |  |  | (?) | Not Sure
NOTE: IF MEDICAL APPLICATION, SYSTEM MUST BE AT LEAST A DUPLEX PER NFPA99 REQUIREMENTS.
MOUNTING CONFIGURATION (SELECT ONE) CONFIGURACION DEL MONTAJE (SELECCIONE UNO)
(ES) | Enclosed Scroll |  |  | (TM) | Tank Mounted – Horizontal
(SM) | Skid Mounted |  |  | (TS) | Tank Mounted - Vertical
CONTROL PANEL (SELECT ONE) PANEL DE CONTROL (SELECCIONE UNO)
(P) | Premium (Touchscreen with BacNet)
(K) | Basic
TANK SIZE (TAMAÑO DEL TANQUE)
GALLONS |  | or | LITRES
VOLTAGE (VOLTAJE)
VOLTAGE (V) |  |  | Frequnecy (Hz) |  |  | PHASE (3 or 1)
DISTRIBUTOR INFO (INFORMACIÓN GENERAL)
NAME: |  |  |  | TEL. # |  |  | E-MAIL:
TITLE:
State/Province |  |  |  | Country |  |  | Postal Code:
PROJECT NAME: |  |  |  |  | Date Quote Required: